## Categorization (3)
UseCategory | TechGroup | TechType
HVAC | Chiller | AirCldScrewChlr
Screw
| dxAC_equip | pkgEER
pkgSEER
pkgTerm
Refrig
RoomAC
spltEER
spltSEER
| dxHP_equip | pkgSEER
spltSEER
| EvapCool_eq | ResEvap
| HeatReject | TwrFanCtrl
| HV_AirDist | AirEcono
DuctLeak
SupFanMtr
VentFanMtr
| HV_Tech | AllEquip
CO2sens
MoveSensor
TStat
| LiquidCirc | TempReset
| SpaceHtg_eq | Boiler_AF
GasFurnace

## Categorization (2)
UseCategory | TechGroup | TechType | Description | Ref No | SourceDesc2 | Meas Name
HVAC | Chiller | AirCldScrewChlr | Air-Cooled Packaged Chiller | 5.39 | SCE17HC030 | Air-Cooled Packaged Chiller
|  | Screw |  | 5.39 | PGECOHVC120 | Air-Cooled Packaged Chiller
| dxAC_equip | pkgEER | Unitary, Air-Cooled, Commercial | 5.24 | PGECOHVC128 | Unitary Air-Cooled Commercial Air Conditioners and Heat Pumps >=65 kBtu/h
|  | pkgSEER |  | 5.11 | SCE13HC023 | Quality Installation for Residential Split Systems
|  |  | Unitary, Air-Cooled, Residential | 5.25 | SCE17HC12 | Unitary Air Cooled Commercial Air Conditioning and Heat Pump Units Under 65 kBtuh
|  |  |  | 5.26 | PGECOHVC161 | Unitary Water and Evaporatively Cooled Air Conditioners
|  | pkgTerm | PTAC | 5.27 | PGECOHVC114 | High Efficiency Package Terminal Air Conditioners & Heat Pumps 24kBtu/h (2 tons) and under
|  | Refrig | Refrigerant Charge | 5.3 | PGE3PHVC160 | Refrigerant Charge
|  |  | Evaporator Coil Cleaning | 5.31 | PGE3PHVC158 | Evaporator Coil Cleaning
|  |  | Condenser Coil Cleaning | 5.32 | PGE3PHVC156 | Commercial Condenser Coil Cleaning
|  | RoomAC | Room Air Conditioner | 5.37 | SCE17HC001 | Energy Star Room Air Conditioners
[5 empty] | WPSDGEREHC1060 | Energy Star Room Air Conditioners
|  | spltEER |  | 5.01 | WPSDGENRHC0028 | Economizer Controls
|  |  |  | 5.02 | WPSDGENRHC0027 | Economizer Repair
|  |  | Quality Installation, Split System, Residential | 5.11 | WPSDGEREHC1064 | Quality Installation for Residential Split Systems
|  |  |  | 5.13 | PGE3PHVC150 | Efficient Fan Controller for Residential Air Conditioners
|  |  |  | 5.31 | WPSDGENRHC1010 | Evaporator Coil Cleaning
|  |  |  | 5.32 | WPSDGENRHC1020 | Commercial Condenser Coil Cleaning
|  |  | Condenser Coil Cleaning, Residential / MF | 5.33 | WPSDGERERN001 | Residential Single Family and Multi-Family Condenser Coil Cleaning
|  | spltSEER | Efficient Fan Controller, Residential | 5.13 | WPSDGEREHC0024 | Efficient Fan Controller for Residential Air Conditioners
|  |  |  | 5.25 | WPSDGENRHC0023 | Unitary Air Cooled Commercial Air Conditioning and Heat Pump Units Under 65 kBtuh
|  |  |  | 5.27 | SCE17HC007 | High Efficiency Package Terminal Air Conditioners & Heat Pumps 24kBtu/h (2 tons) and under
|  |  |  | 5.29 | WPSDGENRHC1030 | Air Filter Replacement
|  |  |  | 5.32 | WPSDGENRHC1040 | Commercial Condenser Coil Cleaning
| dxHP_equip | pkgSEER |  | 5.25 | PGECOHVC126 | Unitary Air Cooled Commercial Air Conditioning and Heat Pump Units Under 65 kBtuh
|  | spltSEER |  | 5.22 | PGECOHVC142 | Variable Refrigerant Flow Commercial Heat Pumps & Heat Recovery Systems >65kBtu/h
|  |  |  | 5.28 | SCE13HC033 | Ductless Air Conditioners under 24 kBtu/hr
| EvapCool_eq | ResEvap |  | 5.34 | SCE17HC026 | Window Evaporative Coolers
|  |  |  | 5.35 | PGECOHVC163 | Direct Evaporative Coolers, Res
[5 empty] | SCE17HC017 | Direct Evaporative Coolers, Res
|  |  |  | 5.36 | PGECOHVC164 | Direct-Indirect Evaporative Coolers
[5 empty] | SCE17HC013 | Direct-Indirect Evaporative Coolers
| HeatReject | TwrFanCtrl |  | 5.14 | SCE17HC039 | VFD Retrofit to Central Plant Systems
| HV_AirDist | AirEcono |  | 5.01 | PGE3PHVC152 | Economizer Controls
|  |  |  | 5.02 | PGE3PHVC151 | Economizer Repair
|  | DuctLeak |  | 5.09 | PGE3PHVC159 | Res DuctTestSeal
|  | SupFanMtr |  | 5.1 | WPSDGEREHC1065 | Residential HVAC Quality Maintenance and Motor Retrofit
|  |  |  | 5.16 | PGECOHVC125 | Air Handler Variable Speed Motor
|  |  |  | 5.42 | PGE3PMOT102 | Brushless Fan Motor for Residential Central AC
|  | VentFanMtr |  | 5.1 | PGECOHVC139 | Residential HVAC Quality Maintenance and Motor Retrofit
|  |  |  | 5.41 | PGECOHVC106 | Variable Speed Drive on HVAC Fan Control
|  |  |  | 5.49 | PGECOHVC143 | Enhanced Ventilation for Packaged HVAC Units with Gas Heating and Packaged Heat Pumps
| HV_Tech | AllEquip |  | 5.1 | SCE13HC029 | Residential HVAC Quality Maintenance and Motor Retrofit
|  |  |  | 5.12 | SCE13HC037 | Comprehensive Commercial HVAC Rooftop Unit Quality Maintenance
|  | CO2sens |  | 5.06 | PGECOHVC168 | Demand Controlled Ventilation for Single Zone Packaged HVAC
|  | MoveSensor |  | 5.21 | SCE17HC060 | Classroom HVAC Occupancy Sensor
|  | TStat |  | 5.13 | WPSDGEREHC0025 | Efficient Fan Controller for Residential Air Conditioners
|  |  |  | 5.15 | PGE3PHVC157 | Unoccupied Supply Fan Control
|  |  |  | 5.27 | WPSDGEREHC0029 | High Efficiency Package Terminal Air Conditioners & Heat Pumps 24kBtu/h (2 tons) and under
|  |  |  | 5.44 | WPSDGENRHC1051 | Guest Room PTAC/PTHP Adaptive Climate Controller
|  |  |  | 5.45 | PGE3PHVC149 | Guest Room PTAC/PTHP Energy Management System
[5 empty] | WPSDGENRHC1050 | Guest Room PTAC/PTHP Energy Management System
|  |  |  | 5.46 | PGE3PHVC153 | Programmable Communicating Thermostat for Demand Response
[5 empty] | WPSDGENRHC0026 | Programmable Communicating Thermostat for Demand Response
|  |  |  | 5.47 | WPSCGREHC160624A | Smart Thermostat
| LiquidCirc | TempReset |  | 5.43 | SCGWP100315A | Multifamily Domestic Hot Water Temperature Reset Controller
| SpaceHtg_eq | Boiler_AF |  | 5.03 | WPSCGNRHC120206A | Space Heating Boilers
|  | GasFurnace |  | 5.18 | PGECOHVC145 | High Efficiency Furnaces 92 AFUE (1.08 HIR), 95 AFUE (1.05 HIR), 96 AFUE (1.04 HIR), and 97 AFUE (1.03 HIR) - Residential
[5 empty] | PGECOHVC147 | High Efficiency Furnaces 92 AFUE (1.08 HIR), 95 AFUE (1.05 HIR), 96 AFUE (1.04 HIR), and 97 AFUE (1.03 HIR) - Residential
[5 empty] | WPSCGREHC130115A | High Efficiency Furnaces 92 AFUE (1.08 HIR), 95 AFUE (1.05 HIR), 96 AFUE (1.04 HIR), and 97 AFUE (1.03 HIR) - Residential
|  |  |  | 5.19 | PGECOHVC146 | High Efficiency Furnaces-Com
[5 empty] | PGECOHVC148 | High Efficiency Furnaces-Com
|  |  |  | 5.2 | WPSCGREHC110603A | Gravity Wall Furnaces in Single-Family and Multi-Family Homes
|  |  |  | 5.4 | PGECOHVC166 | Upstream Residential HVAC
| SteamHtg_eq | Boiler_AF |  | 5.03 | WPSDGENRHC1061 | Space Heating Boilers
| WaterHtg_eq |  |  | 5.03 | WPSCGNRHC120206A | Space Heating Boilers
|  | Boiler_Et |  | 5.03 | PGECOHVC101 | Space Heating Boilers

## Categorization
UseCategory | TechGroup | TechType | Ref No | SourceDesc2 | Meas Name
HVAC | Chiller | AirCldScrewChlr | 5.39 | SCE17HC030 | Air-Cooled Packaged Chiller
|  | Screw | 5.39 | PGECOHVC120 | Air-Cooled Packaged Chiller
| dxAC_equip | pkgEER | 5.24 | PGECOHVC128 | Unitary Air-Cooled Commercial Air Conditioners and Heat Pumps >=65 kBtu/h
|  | pkgSEER | 5.11 | SCE13HC023 | Quality Installation for Residential Split Systems
|  |  | 5.25 | SCE17HC12 | Unitary Air Cooled Commercial Air Conditioning and Heat Pump Units Under 65 kBtuh
|  |  | 5.26 | PGECOHVC161 | Unitary Water and Evaporatively Cooled Air Conditioners
|  | pkgTerm | 5.27 | PGECOHVC114 | High Efficiency Package Terminal Air Conditioners & Heat Pumps 24kBtu/h (2 tons) and under
|  | Refrig | 5.3 | PGE3PHVC160 | Refrigerant Charge
|  |  | 5.31 | PGE3PHVC158 | Evaporator Coil Cleaning
|  |  | 5.32 | PGE3PHVC156 | Commercial Condenser Coil Cleaning
|  | RoomAC | 5.37 | SCE17HC001 | Energy Star Room Air Conditioners
|  |  |  | WPSDGEREHC1060 | Energy Star Room Air Conditioners
|  | spltEER | 5.01 | WPSDGENRHC0028 | Economizer Controls
|  |  | 5.02 | WPSDGENRHC0027 | Economizer Repair
|  |  | 5.11 | WPSDGEREHC1064 | Quality Installation for Residential Split Systems
|  |  | 5.13 | PGE3PHVC150 | Efficient Fan Controller for Residential Air Conditioners
|  |  | 5.31 | WPSDGENRHC1010 | Evaporator Coil Cleaning
|  |  | 5.32 | WPSDGENRHC1020 | Commercial Condenser Coil Cleaning
|  |  | 5.33 | WPSDGERERN001 | Residential Single Family and Multi-Family Condenser Coil Cleaning
|  | spltSEER | 5.13 | WPSDGEREHC0024 | Efficient Fan Controller for Residential Air Conditioners
|  |  | 5.25 | WPSDGENRHC0023 | Unitary Air Cooled Commercial Air Conditioning and Heat Pump Units Under 65 kBtuh
|  |  | 5.27 | SCE17HC007 | High Efficiency Package Terminal Air Conditioners & Heat Pumps 24kBtu/h (2 tons) and under
|  |  | 5.29 | WPSDGENRHC1030 | Air Filter Replacement
|  |  | 5.32 | WPSDGENRHC1040 | Commercial Condenser Coil Cleaning
| dxHP_equip | pkgSEER | 5.25 | PGECOHVC126 | Unitary Air Cooled Commercial Air Conditioning and Heat Pump Units Under 65 kBtuh
|  | spltSEER | 5.22 | PGECOHVC142 | Variable Refrigerant Flow Commercial Heat Pumps & Heat Recovery Systems >65kBtu/h
|  |  | 5.28 | SCE13HC033 | Ductless Air Conditioners under 24 kBtu/hr
| EvapCool_eq | ResEvap | 5.34 | SCE17HC026 | Window Evaporative Coolers
|  |  | 5.35 | PGECOHVC163 | Direct Evaporative Coolers, Res
|  |  |  | SCE17HC017 | Direct Evaporative Coolers, Res
|  |  | 5.36 | PGECOHVC164 | Direct-Indirect Evaporative Coolers
|  |  |  | SCE17HC013 | Direct-Indirect Evaporative Coolers
| HeatReject | TwrFanCtrl | 5.14 | SCE17HC039 | VFD Retrofit to Central Plant Systems
| HV_AirDist | AirEcono | 5.01 | PGE3PHVC152 | Economizer Controls
|  |  | 5.02 | PGE3PHVC151 | Economizer Repair
|  | DuctLeak | 5.09 | PGE3PHVC159 | Res DuctTestSeal
|  | SupFanMtr | 5.1 | WPSDGEREHC1065 | Residential HVAC Quality Maintenance and Motor Retrofit
|  |  | 5.16 | PGECOHVC125 | Air Handler Variable Speed Motor
|  |  | 5.42 | PGE3PMOT102 | Brushless Fan Motor for Residential Central AC
|  | VentFanMtr | 5.1 | PGECOHVC139 | Residential HVAC Quality Maintenance and Motor Retrofit
|  |  | 5.41 | PGECOHVC106 | Variable Speed Drive on HVAC Fan Control
|  |  | 5.49 | PGECOHVC143 | Enhanced Ventilation for Packaged HVAC Units with Gas Heating and Packaged Heat Pumps
| HV_Tech | AllEquip | 5.1 | SCE13HC029 | Residential HVAC Quality Maintenance and Motor Retrofit
|  |  | 5.12 | SCE13HC037 | Comprehensive Commercial HVAC Rooftop Unit Quality Maintenance
|  | CO2sens | 5.06 | PGECOHVC168 | Demand Controlled Ventilation for Single Zone Packaged HVAC
|  | MoveSensor | 5.21 | SCE17HC060 | Classroom HVAC Occupancy Sensor
|  | TStat | 5.13 | WPSDGEREHC0025 | Efficient Fan Controller for Residential Air Conditioners
|  |  | 5.15 | PGE3PHVC157 | Unoccupied Supply Fan Control
|  |  | 5.27 | WPSDGEREHC0029 | High Efficiency Package Terminal Air Conditioners & Heat Pumps 24kBtu/h (2 tons) and under
|  |  | 5.44 | WPSDGENRHC1051 | Guest Room PTAC/PTHP Adaptive Climate Controller
|  |  | 5.45 | PGE3PHVC149 | Guest Room PTAC/PTHP Energy Management System
|  |  |  | WPSDGENRHC1050 | Guest Room PTAC/PTHP Energy Management System
|  |  | 5.46 | PGE3PHVC153 | Programmable Communicating Thermostat for Demand Response
|  |  |  | WPSDGENRHC0026 | Programmable Communicating Thermostat for Demand Response
|  |  | 5.47 | WPSCGREHC160624A | Smart Thermostat
| LiquidCirc | TempReset | 5.43 | SCGWP100315A | Multifamily Domestic Hot Water Temperature Reset Controller
| SpaceHtg_eq | Boiler_AF | 5.03 | WPSCGNRHC120206A | Space Heating Boilers
|  | GasFurnace | 5.18 | PGECOHVC145 | High Efficiency Furnaces 92 AFUE (1.08 HIR), 95 AFUE (1.05 HIR), 96 AFUE (1.04 HIR), and 97 AFUE (1.03 HIR) - Residential
|  |  |  | PGECOHVC147 | High Efficiency Furnaces 92 AFUE (1.08 HIR), 95 AFUE (1.05 HIR), 96 AFUE (1.04 HIR), and 97 AFUE (1.03 HIR) - Residential
|  |  |  | WPSCGREHC130115A | High Efficiency Furnaces 92 AFUE (1.08 HIR), 95 AFUE (1.05 HIR), 96 AFUE (1.04 HIR), and 97 AFUE (1.03 HIR) - Residential
|  |  | 5.19 | PGECOHVC146 | High Efficiency Furnaces-Com
|  |  |  | PGECOHVC148 | High Efficiency Furnaces-Com
|  |  | 5.2 | WPSCGREHC110603A | Gravity Wall Furnaces in Single-Family and Multi-Family Homes
|  |  | 5.4 | PGECOHVC166 | Upstream Residential HVAC
| SteamHtg_eq | Boiler_AF | 5.03 | WPSDGENRHC1061 | Space Heating Boilers
| WaterHtg_eq |  | 5.03 | WPSCGNRHC120206A | Space Heating Boilers
|  | Boiler_Et | 5.03 | PGECOHVC101 | Space Heating Boilers

## Differences
UseCategory | Ref No | TechGroup | TechType | SourceDesc2 | Meas Name
HVAC | 5.01 | dxAC_equip | spltEER | WPSDGENRHC0028 | Economizer Controls
|  | HV_AirDist | AirEcono | PGE3PHVC152 | Economizer Controls
| 5.02 | dxAC_equip | spltEER | WPSDGENRHC0027 | Economizer Repair
|  | HV_AirDist | AirEcono | PGE3PHVC151 | Economizer Repair
| 5.03 | SpaceHtg_eq | Boiler_AF | WPSCGNRHC120206A | Space Heating Boilers
|  | SteamHtg_eq | Boiler_AF | WPSDGENRHC1061 | Space Heating Boilers
|  | WaterHtg_eq |  | WPSCGNRHC120206A | Space Heating Boilers
|  |  | Boiler_Et | PGECOHVC101 | Space Heating Boilers
| 5.06 | HV_Tech | CO2sens | PGECOHVC168 | Demand Controlled Ventilation for Single Zone Packaged HVAC
| 5.09 | HV_AirDist | DuctLeak | PGE3PHVC159 | Res DuctTestSeal
| 5.1 | HV_AirDist | SupFanMtr | WPSDGEREHC1065 | Residential HVAC Quality Maintenance and Motor Retrofit
|  |  | VentFanMtr | PGECOHVC139 | Residential HVAC Quality Maintenance and Motor Retrofit
|  | HV_Tech | AllEquip | SCE13HC029 | Residential HVAC Quality Maintenance and Motor Retrofit
| 5.11 | dxAC_equip | pkgSEER | SCE13HC023 | Quality Installation for Residential Split Systems
|  |  | spltEER | WPSDGEREHC1064 | Quality Installation for Residential Split Systems
| 5.12 | HV_Tech | AllEquip | SCE13HC037 | Comprehensive Commercial HVAC Rooftop Unit Quality Maintenance
| 5.13 | dxAC_equip | spltEER | PGE3PHVC150 | Efficient Fan Controller for Residential Air Conditioners
|  |  | spltSEER | WPSDGEREHC0024 | Efficient Fan Controller for Residential Air Conditioners
|  | HV_Tech | TStat | WPSDGEREHC0025 | Efficient Fan Controller for Residential Air Conditioners
| 5.14 | HeatReject | TwrFanCtrl | SCE17HC039 | VFD Retrofit to Central Plant Systems
| 5.15 | HV_Tech | TStat | PGE3PHVC157 | Unoccupied Supply Fan Control
| 5.16 | HV_AirDist | SupFanMtr | PGECOHVC125 | Air Handler Variable Speed Motor
| 5.18 | SpaceHtg_eq | GasFurnace | PGECOHVC145 | High Efficiency Furnaces 92 AFUE (1.08 HIR), 95 AFUE (1.05 HIR), 96 AFUE (1.04 HIR), and 97 AFUE (1.03 HIR) - Residential
|  |  |  | PGECOHVC147 | High Efficiency Furnaces 92 AFUE (1.08 HIR), 95 AFUE (1.05 HIR), 96 AFUE (1.04 HIR), and 97 AFUE (1.03 HIR) - Residential
|  |  |  | WPSCGREHC130115A | High Efficiency Furnaces 92 AFUE (1.08 HIR), 95 AFUE (1.05 HIR), 96 AFUE (1.04 HIR), and 97 AFUE (1.03 HIR) - Residential
| 5.19 | SpaceHtg_eq | GasFurnace | PGECOHVC146 | High Efficiency Furnaces-Com
|  |  |  | PGECOHVC148 | High Efficiency Furnaces-Com
| 5.2 | SpaceHtg_eq | GasFurnace | WPSCGREHC110603A | Gravity Wall Furnaces in Single-Family and Multi-Family Homes
| 5.21 | HV_Tech | MoveSensor | SCE17HC060 | Classroom HVAC Occupancy Sensor
| 5.22 | dxHP_equip | spltSEER | PGECOHVC142 | Variable Refrigerant Flow Commercial Heat Pumps & Heat Recovery Systems >65kBtu/h
| 5.24 | dxAC_equip | pkgEER | PGECOHVC128 | Unitary Air-Cooled Commercial Air Conditioners and Heat Pumps >=65 kBtu/h
| 5.25 | dxAC_equip | pkgSEER | SCE17HC12 | Unitary Air Cooled Commercial Air Conditioning and Heat Pump Units Under 65 kBtuh
|  |  | spltSEER | WPSDGENRHC0023 | Unitary Air Cooled Commercial Air Conditioning and Heat Pump Units Under 65 kBtuh
|  | dxHP_equip | pkgSEER | PGECOHVC126 | Unitary Air Cooled Commercial Air Conditioning and Heat Pump Units Under 65 kBtuh
| 5.26 | dxAC_equip | pkgSEER | PGECOHVC161 | Unitary Water and Evaporatively Cooled Air Conditioners
| 5.27 | dxAC_equip | pkgTerm | PGECOHVC114 | High Efficiency Package Terminal Air Conditioners & Heat Pumps 24kBtu/h (2 tons) and under
|  |  | spltSEER | SCE17HC007 | High Efficiency Package Terminal Air Conditioners & Heat Pumps 24kBtu/h (2 tons) and under
|  | HV_Tech | TStat | WPSDGEREHC0029 | High Efficiency Package Terminal Air Conditioners & Heat Pumps 24kBtu/h (2 tons) and under
| 5.28 | dxHP_equip | spltSEER | SCE13HC033 | Ductless Air Conditioners under 24 kBtu/hr
| 5.29 | dxAC_equip | spltSEER | WPSDGENRHC1030 | Air Filter Replacement
| 5.3 | dxAC_equip | Refrig | PGE3PHVC160 | Refrigerant Charge
| 5.31 | dxAC_equip | Refrig | PGE3PHVC158 | Evaporator Coil Cleaning
|  |  | spltEER | WPSDGENRHC1010 | Evaporator Coil Cleaning
| 5.32 | dxAC_equip | Refrig | PGE3PHVC156 | Commercial Condenser Coil Cleaning
|  |  | spltEER | WPSDGENRHC1020 | Commercial Condenser Coil Cleaning
|  |  | spltSEER | WPSDGENRHC1040 | Commercial Condenser Coil Cleaning
| 5.33 | dxAC_equip | spltEER | WPSDGERERN001 | Residential Single Family and Multi-Family Condenser Coil Cleaning
| 5.34 | EvapCool_eq | ResEvap | SCE17HC026 | Window Evaporative Coolers
| 5.35 | EvapCool_eq | ResEvap | PGECOHVC163 | Direct Evaporative Coolers, Res
|  |  |  | SCE17HC017 | Direct Evaporative Coolers, Res
| 5.36 | EvapCool_eq | ResEvap | PGECOHVC164 | Direct-Indirect Evaporative Coolers
|  |  |  | SCE17HC013 | Direct-Indirect Evaporative Coolers
| 5.37 | dxAC_equip | RoomAC | SCE17HC001 | Energy Star Room Air Conditioners
|  |  |  | WPSDGEREHC1060 | Energy Star Room Air Conditioners
| 5.39 | Chiller | AirCldScrewChlr | SCE17HC030 | Air-Cooled Packaged Chiller
|  |  | Screw | PGECOHVC120 | Air-Cooled Packaged Chiller
| 5.4 | SpaceHtg_eq | GasFurnace | PGECOHVC166 | Upstream Residential HVAC
| 5.41 | HV_AirDist | VentFanMtr | PGECOHVC106 | Variable Speed Drive on HVAC Fan Control
| 5.42 | HV_AirDist | SupFanMtr | PGE3PMOT102 | Brushless Fan Motor for Residential Central AC
| 5.43 | LiquidCirc | TempReset | SCGWP100315A | Multifamily Domestic Hot Water Temperature Reset Controller
| 5.44 | HV_Tech | TStat | WPSDGENRHC1051 | Guest Room PTAC/PTHP Adaptive Climate Controller
| 5.45 | HV_Tech | TStat | PGE3PHVC149 | Guest Room PTAC/PTHP Energy Management System
|  |  |  | WPSDGENRHC1050 | Guest Room PTAC/PTHP Energy Management System
| 5.46 | HV_Tech | TStat | PGE3PHVC153 | Programmable Communicating Thermostat for Demand Response
|  |  |  | WPSDGENRHC0026 | Programmable Communicating Thermostat for Demand Response
| 5.47 | HV_Tech | TStat | WPSCGREHC160624A | Smart Thermostat
| 5.49 | HV_AirDist | VentFanMtr | PGECOHVC143 | Enhanced Ventilation for Packaged HVAC Units with Gas Heating and Packaged Heat Pumps
Grand Total