## Measure Data
Measure No | eTRM Names | End Use | SW Measure ID | Version | IOU / POU | Lead IOU | Calculation Status | kWh Savings, 2019 | therm Savings 2019 | kWh % | therm %
7.01 | Refrigerator | Appliance or Plug Load | SWAP001-01 | 01 | IOU | PG&E | Study | 2030102.7 | -55028.38 | 0.4738% | -0.3702%
8.01 | Refrigerator | Appliance or Plug Load | SWAP001-02 | 01 | IOU | PG&E | DEER Modeled | 2030102.7 | -55028.38 | 0.4738% | -0.3702%
7.03 | Refrigerator or Freezer Recycling | Appliance or Plug Load | SWAP002-01 | 01 | POU | POU | DEER Modified
7.04 | Clothes Dryer, Residential | Appliance or Plug Load | SWAP003-01 | 01 | IOU | PG&E | Calculated | 3829627.6 | 104902.86 | 0.8937% | 0.7058%
7.05 | Clothes Washer, Residential | Appliance or Plug Load | SWAP004-01 | 01 | IOU | PG&E | DEER Modeled | 5534332.3049 | 269339.6099 | 1.292% | 1.812%
7.09 | Ozone Laundry, Commercial | Appliance or Plug Load | SWAP005-01 | 01 | IOU | SCG/PG&E | Calculated | 0 | 1057052.0849 | 0% | 7.112% | Calculation Types:
7.12 | Dishwasher, Residential | Appliance or Plug Load | SWAP006-01 | 01 | IOU | SCG | DEER Modified | -105.71 | 19.42 | -2.467e-05% | 0.0001307% | Calculated
7.14a | Room Air Conditioner, Residential | Appliance or Plug Load | SWAP007-01 | 01 | IOU | PG&E | Study | 683322.4 | 0 | 0.1595% | 0% | Calculation Tool
7.14b | Room Air Cleaner, Residential | Appliance or Plug Load | SWAP008-01 | 01 | IOU | PG&E | Calculated | 26012.5 | -577.93 | 0.006071% | -0.003888% | DEER Modified
7.15 | Network Desktop Computer Power Management Software | Appliance or Plug Load | SWAP009-01 | 01 | POU | POU | 0 | 0 | 0 | 0% | 0% | IOU Modeled
7.16 | Smart Power Strips | Appliance or Plug Load | SWAP010-01 | 01 | IOU | SCE | Calculated | 1869693.118 | -43993.5992 | 0.4363% | -0.296% | DEER Modeled
7.18 | Vending and Beverage Merchandise Controller | Appliance or Plug Load | SWAP011-01 | 01 | IOU | SCE | Calculated | 41514.52 | 0 | 0.009688% | 0% | Modeled
7.36 | Gas Dryer Modulating Valve, Commercial and MFm | Appliance or Plug Load | SWAP012-01 | 01 | IOU | SCG | Calculated | 0 | 1282.77 | 0% | 0.00863% | Study
7.37 | Induction Cooktop, Residential | Appliance or Plug Load | SWAP013-01 | 01 | IOU | SCE | 0
| Clothes Dryer, Residential, Fuel Substitution | Appliance or Plug Load | SWAP014-01 | 01 | IOU | SCE | Calculated
3.14 | Greenhouse Heat Curtain | Building Envelope | SWBE001-01 | 01 | IOU | SCG | DEER Modeled | 89329.104 | 255510.431 | 0.02085% | 1.719%
3.15 | Greenhouse Infrared Film | Building Envelope | SWBE002-01 | 01 | IOU | SCG | DEER Modeled | 18865.5 | 53955.33 | 0.004403% | 0.363%
8.04 | #N/A | Building Envelope | SWBE003-01 | 01 | Sunset | Hold | 0
8.01 | #N/A | Building Envelope | SWBE004-01 | 01 | Sunset | Hold | 0
8.02 | #N/A | Building Envelope | SWBE005-01 | 01 | Sunset | Hold | 0
8.08 | Ceiling Insulation, Residential | Building Envelope | SWBE006-01 | 01 | IOU | SCG | DEER Modeled | 0 | 0 | 0% | 0%
8.11 | Wall Insulation, Residential | Building Envelope | SWBE007-01 | 01 | IOU | SCG | DEER Modeled
10.02 | VFD Retrofit for Air Compressor | Compressed Air | SWCA001-01 | 01 | IOU | SCE | Calculation Tool
10.01 | #N/A | Compressed Air | SWCA002-01 | 01 | POU | 0 | 0
2.01 | Convection Oven, Commercial | Food Service | SWFS001-01 | 01 | IOU | SCG | Calculated | 169737 | 164750 | 0.03961% | 1.108%
2.02 | Door-Type Dishwasher, Commercial | Food Service | SWFS002-01 | 01 | IOU | SCE | Calculated
2.03 | Combination Oven, Commercial | Food Service | SWFS003-01 | 01 | IOU | SCE | Calculated | 750440 | 225504 | 0.1751% | 1.517%
2.04 | Griddle, Commercial | Food Service | SWFS004-01 | 01 | IOU | SCE | Calculated | 37016 | 21420 | 0.008639% | 0.1441%
2.05 | Steamer, Commercial | Food Service | SWFS005-01 | 01 | IOU | SCG | Calculated | 189981 | 454125 | 0.04434% | 3.055%
2.06 | Ice Machine, Commercial | Food Service | SWFS006-01 | 01 | IOU | SCE | Calculated | 87245 | 0 | 0.02036% | 0%
2.07 | Insulated Hot Food Holding Cabinet | Food Service | SWFS007-01 | 01 | IOU | SCE | Calculated | 297464 | 0 | 0.06942% | 0%
2.08 | Commercial Conveyor Oven | Food Service | SWFS008-01 | 01 | IOU | SCG | Calculated | 0 | 6188 | 0% | 0.04163%
2.09 | Deck Oven, Electric, Commercial | Food Service | SWFS009-01 | 01 | IOU | SCE | Calculated
2.1 | Commercial Hand-Wrap Machine, Electric | Food Service | SWFS010-01 | 01 | IOU | SCE | Study | 60840 | 0 | 0.0142% | 0%
2.11 | Fryer, Commercial | Food Service | SWFS011-01 | 01 | IOU | SCG | Calculated | 10415 | 1260400 | 0.002431% | 8.48%
2.12 | Exhaust Hood Demand Controlled Ventilation, Commercial | Food Service | SWFS012-01 | 01 | IOU | SCE | Calculated | 346067.25 | 5760.75 | 0.08076% | 0.03876%
2.13 | Low-Flow Pre-rinse Spray Valve | Food Service | SWFS013-01 | 01 | IOU | SCG | Calculated | 0 | 36949.8889 | 0% | 0.2486%
2.14 | Rack Oven, Gas, Commercial | Food Service | SWFS014-01 | 01 | IOU | SCG | Calculated | 0 | 130448 | 0% | 0.8777%
2.17 | High-density Universal Holding Cabinet, Commercial | Food Service | SWFS015-01 | 01 | POU | SCE | One Line Calc
2.21 | Refrigerated Chef Base | Food Service | SWFS016-01 | 01 | IOU | SCE | Study
2.2 | Conveyor Broiler, Commercial | Food Service | SWFS017-01 | 01 | IOU | SCG | Calculated | 49461 | 5799 | 0.01154% | 0.03902%
2.19 | Undercounter Dishwasher, Commercial | Food Service | SWFS018-01 | 01 | IOU | SCG | Calculated
2.22 | Underfired Broiler, Commercial | Food Service | SWFS019-01 | 01 | IOU | SCG | Calculated
| Steamer, Commercial, Fuel Substitution | Food Service | SWFS020-01 | 01 | IOU | SCE | Calculated
| Fryer, Commercial, Fuel Substitution | Food Service | SWFS021-01 | 01 | IOU | SCE | Calculated
| Convection Oven, Commercial, Fuel Substitution | Food Service | SWFS022-01 | 01 | IOU | SCE | Calculated
5.2 | Gravity Wall Furnace, Residential | HVAC | SWHC001-01 | 01 | IOU | SCG | DEER Modified | 0 | 173825.8 | 0% | 1.169%
5.57 | Intermittent Pilot Light, Residential | HVAC | SWHC002-01 | 01 | IOU | SCG | Calculation Tool
5.03 | Space Heating Boiler, Commercial | HVAC | SWHC004-01 | 01 | IOU | PG&E | DEER Modeled | 17075.8388 | 355814.7992 | 0.003985% | 2.394%
5.03 | Space Heating Boiler, Multifamily | HVAC | SWHC004b-01 | 01 | IOU | PG&E | Modeled | 17075.8388 | 355814.7992 | 0.003985% | 2.394%
5.05 | Water-Cooled Chiller | HVAC | SWHC005-01 | 01 | IOU | 0 | DEER Modified | 480009 | 0 | 0.112% | 0%
5.06 | Demand Control Ventilation for Single Zone HVAC | HVAC | SWHC006-01 | 01 | IOU | PG&E | Modeled | 129559.2663 | 57606.3025 | 0.03024% | 0.3876%
5.07 | VFD Demand Control System Retrofit to Parking Structure Exhaust Fan | HVAC | SWHC007-01 | 01 | POU | 0 | ?
5.14 | Variable Speed Drive for a Central Plant System | HVAC | SWHC008-01 | 01 | IOU | SCE | Modeled | 129269 | 0 | 0.03017% | 0%
5.15 | Supply Fan Controls, Commercial | HVAC | SWHC009-01 | 01 | IOU | PG&E | Modeled | 5937318.476 | 283422.2923 | 1.386% | 1.907%
5.16 | Air Handler Variable Speed Motor | HVAC | SWHC010-01 | 01 | Sunset | SDG&E | ?
5.19 | Furnace, Commercial | HVAC | SWHC011-01 | 01 | IOU | SCG | DEER Modeled | 0 | 0 | 0% | 0%
5.21 | HVAC Occupancy Sensor, Classroom | HVAC | SWHC012-01 | 01 | IOU | SCE-JayB | Modeled
5.24 | Unitary Air-Cooled Air Conditioner, Over 65 kBtu/h, Commercial | HVAC | SWHC013-01 | 01 | IOU | PG&E | DEER Modeled | 2777788.6314 | 0 | 0.6483% | 0%
5.25 | Unitary Air Cooled Air Conditioner or Heat Pump, Under 65 kBtu/h, Commercial | HVAC | SWHC014-01 | 01 | IOU | PG&E | DEER Modeled | 6938583.0171 | -50302.5727 | 1.619% | -0.3384%
5.22 | #N/A | HVAC | SWHC015-01 | 01 | Sunset | 0 | 1
5.26 | Evaporative Condenser, Commercial | HVAC | SWHC016-01 | 01 | Sunset | 0 | ? | 0 | 0 | 0% | 0%
5.28 | Ductless Air Conditioner < 24 kBtu/h, Commercial | HVAC | SWHC017-01 | 01 | Sunset | 0 | DEER (direct or interpolated)
5.41 | VSD for HVAC Fan Controls, Commercial | HVAC | SWHC018-01 | 01 | IOU | PG&E | Modeled | 2603616.5 | -3025.7145 | 0.6076% | -0.02036%
5.44 | #N/A | HVAC | SWHC019-01 | 01 | Sunset | SDG&E | ? | 1151014.9695 | 0 | 0.2686% | 0%
5.39 | Air Cooled Chiller | HVAC | SWHC020-01 | 01 | IOU | 0 | DEER Modified | 491226.956 | 0 | 0.1146% | 0%
5.45 | Guest Room PTAC/PTHP Energy Management System | HVAC | SWHC021-01 | 01 | POU | PG&E | 4 | 16680578 | 0 | 3.893% | 0%
5.46 | #N/A | HVAC | SWHC022-01 | 01 | Sunset | 0 | ? | 82188.865 | 13341.96 | 0.01918% | 0.08976%
5.49 | Enhanced Ventilation for Packaged HVAC | HVAC | SWHC023-01 | 01 | IOU | PG&E | Modeled | 1871144.4364 | 103279.9303 | 0.4367% | 0.6949%
5.5 | Cogged V-Belt for HVAC Fan, Commercial | HVAC | SWHC024-01 | 01 | IOU | SCE-JayB | Modeled | 361.1079 | 0 | 8.427e-05% | 0%
5.51 | #N/A | HVAC | SWHC025-01 | 01 | Sunset | 0 | 1 | 1013341.8292 | -148.717 | 0.2365% | -0.001001%
5.56 | Single Package Vertical Heat Pump, K-12 and Community Colleges | HVAC | SWHC026-01 | 01 | POU | 0 | 0 | 66249 | 0 | 0.01546% | 0%
5.27 | Package Terminal Air Conditioner or Heat Pump, Under 24 kBtu/h | HVAC | SWHC027-01 | 01 | IOU | SCE | DEER Modified | 178016 | 0 | 0.04154% | 0%
5.53 | #N/A | HVAC | SWHC028-01 | 01 | Sunset | 0 | Modeling Tool (non-eQUEST)
5.13 | Fan Controller for Air Conditioner, Residential | HVAC | SWHC029-01 | 01 | IOU | 0 | Modeled | 4164745.1634 | 0 | 0.9719% | 0%
5.17 | Whole House Fan, Residential | HVAC | SWHC030-01 | 01 | IOU | 0 | DEER Modeled | 50824 | -208.81 | 0.01186% | -0.001405%
5.18 | Furnace, Residential | HVAC | SWHC031-01 | 01 | IOU | 0 | DEER Modified | 0 | 181320.6635 | 0% | 1.22%
5.23 | Evaporative Condenser, Residential | HVAC | SWHC032-01 | 01 | Sunset | POU | not DEER
5.34 | Window Evaporative Cooler, Residential | HVAC | SWHC033-01 | 01 | Sunset | 0 | 0 | 221502.3219 | -28213.6111 | 0.05169% | -0.1898%
5.35 | Direct Evaporative Cooler, Residential | HVAC | SWHC034-01 | 01 | Sunset | 0 | not DEER
5.36 | Direct-Indirect Evaporative Cooler, Residential | HVAC | SWHC035-01 | 01 | Sunset | 0 | not DEER | 8628.3362 | 0 | 0.002014% | 0%
5.38 | #N/A | HVAC | SWHC036-01 | 01 | Sunset | 0 | 0
5.4 | Upstream HVAC, Residential | HVAC | SWHC037-01 | 01 | POU | 0 | 1 | 0 | 0 | 0% | 0%
5.42-5.10f | Brushless Fan Motor Replacement, Residential | HVAC | SWHC038-01 | 01 | IOU | SCE | Modeled | 3943431.1551 | 0 | 0.9203% | 0%
5.47 | Smart Thermostat, Residential | HVAC | SWHC039-01 | 01 | IOU | 0 | Study | 26946757.3595 | 1813136.3502 | 6.289% | 12.2%
5.55 | Heat Pump Electric Resistance Heat Controls | HVAC | SWHC040-01 | 01 | POU | 0 | 0
5.6 | Software-Controlled Switch Reluctance Motor, Commercial | HVAC | SWHC041-01 | 01 | IOU | SCE | Modeled
5.61 | Evaporative Pre-Cooler System and Controls for Packaged HVAC Unit | HVAC | SWHC042-01 | 01 | IOU | SCE | Modeled
5.63 | Multi Speed Unitary Air-Cooled Air Conditioning Equipment, Commercial | HVAC | SWHC043-01 | 01 | IOU | PG&E | Modeled
| Ductless HVAC, Residential, Fuel Substitution | HVAC | SWHC044-01 | 01 | IOU | SCE | Modeled
| Heat Pump HVAC, Residential, Fuel Substitution | HVAC | SWHC045-01 | 01 | IOU | SCE | Modeled
| Packaged Heat Pump Air Conditioner Commercial, Fuel Substitution | HVAC | SWHC046-01 | 01 | IOU | SCE | Modeled
11.1 | Gas Fireplace, Residential | HVAC | SWHC047-01 | 01 | IOU | SCG | Calculation Tool
4.16 | LED Surface, Pendant, Track, Accent, and Recessed Downlight Fixtures | Lighting | SWLG001-01 | 01 | POU | 0 | One Line Calc | 451037.8 | -3150.8699 | 0.1053% | -0.0212%
4.26 | LED MR16 Lamps | Lighting | SWLG002-01 | 01 | POU | SCE | One Line Calc | 0 | 0 | 0% | 0%
4.27 | LED PAR Lamps | Lighting | SWLG003-01 | 01 | POU | SCE | One Line Calc | 1710203.3842 | -26521.1958 | 0.3991% | -0.1784%
4.28 | LED Candelabra Lamp | Lighting | SWLG004-01 | 01 | POU | SCE | One Line Calc | 38733840.1917 | -640332.9941 | 9.039% | -4.308%
4.29 | LED Globe Lamp | Lighting | SWLG005-01 | 01 | POU | SCE | One Line Calc | 32208852.1413 | -500228.5703 | 7.517% | -3.366%
4.3 | LED A-Lamp | Lighting | SWLG006-01 | 01 | POU | SCE | One Line Calc | 16122.8469 | -383.1481 | 0.003763% | -0.002578%
4.31 | LED Recessed Downlight Retrofit Kit | Lighting | SWLG007-01 | 01 | POU | SCE | One Line Calc | 238550.0543 | -2226.8769 | 0.05567% | -0.01498%
4.32 | LED, R/BR Lamp | Lighting | SWLG008-01 | 01 | POU | SCE | One Line Calc | 176258578.2082 | -3004007.0539 | 41.13% | -20.21%
4.36 | LED, Tube | Lighting | SWLG009-01 | 01 | IOU | SCE | Calculated | 18143488.0362 | -62132.5911 | 4.234% | -0.418%
4.17 | #N/A | Lighting | SWLG010-01 | 01 | Sunset | 0 | 0
4.18 | LED, High or Low Bay | Lighting | SWLG011-01 | 01 | IOU | PG&E | Calculated | 5436661.8884 | -32086.1749 | 1.269% | -0.2159%
4.19 | LED, Ambient Commercial Fixtures & Retrofit Kits | Lighting | SWLG012-01 | 01 | IOU | PG&E | Calculated | 11318341.9723 | -85642.696 | 2.641% | -0.5762%
4.2 | #N/A | Lighting | SWLG013-01 | 01 | Sunset | 0 | 0
4.22 | #N/A | Lighting | SWLG014-01 | 01 | Sunset | SCE | 0
4.48 | #N/A | Lighting | SWLG015-01 | 01 | Sunset | PG&E | 0
4.51 | #N/A | Lighting | SWLG016-01 | 01 | Sunset | 0 | 0 | 3789.576 | 0 | 0.0008844% | 0%
4.55 | #N/A | Lighting | SWLG017-01 | 01 | POU | PG&E | 0
3.02 | Ventilation Fan, Agriculture | Process | SWPR001-01 | 01 | IOU | PG&E | Calculated | 0 | 0 | 0% | 0%
10.05 | VFD for Glycol Pump Motor | Process | SWPR002-01 | 01 | IOU | PG&E | Calculated | 548039.2971 | 0 | 0.1279% | 0%
10.08 | Steam Trap, Commercial | Process | SWPR003-01 | 01 | IOU | SCG | Study | 0 | 32963 | 0% | 0.2218%
10.10 | Circulating Block Heater | Process | SWPR004-01 | 01 | IOU | SCE | Study | 0 | 0 | 0% | 0%
10.14 | VFD for Dust Collection Fan | Process | SWPR005-01 | 01 | IOU | PG&E | Calculated
10.16 | VFD for Ag Ventilation Fan | Process | SWPR006-01 | 01 | IOU | PG&E | Study
9.01 | Pool Cover, Commercial | Recreation | SWRE001-01 | 01 | IOU | SCG | Calculation Tool | 0 | 22876.18 | 0% | 0.1539%
9.05 | VSD for Pool & Spa Pump | Recreation | SWRE002-01 | 01 | IOU | SCE | Calculated | 4091311.0746 | 0 | 0.9548% | 0%
9.09 | Heater for Pool or Spa, Commercial | Recreation | SWRE003-01 | 01 | IOU | PG&E | Calculation Tool | 0 | 89938.057 | 0% | 0.6051%
9.1 | Pool Heater, Residential | Recreation | SWRE004-01 | 01 | IOU | SCG | Calculation Tool
| Pool Heater, Residential Fuel Substitution | Recreation | SWRE005-01 | 01 | IOU | SCE | 0
1.01 | Anti-Sweat Heater Controls | Refrigeration | SWCR001-01 | 01 | IOU | SCE | Modeled | 4996855.5179 | -50914.842 | 1.166% | -0.3426%
1.02b | Low-Temp Display Case Doors With No Anti-Sweat Heaters | Refrigeration | SWCR002-01 | 01 | IOU | SCE | Modeled
1.03a | ECM Motor Retrofit For Display Case Cooler Or Freezer | Refrigeration | SWCR003-01 | 01 | IOU | SCE | Modeled | 6255487.98 | -12313.17 | 1.46% | -0.08284%
1.03b | Walk-In Cooler/Freezer with ECM Motor Retrofit | Refrigeration | SWCR004-01 | 01 | IOU | SCE | Modeled | 429215.91 | -11.44 | 0.1002% | -7.697e-05%
1.04 | Auto Closer for Refrigerated Storage Door | Refrigeration | SWCR005-01 | 01 | IOU | SCE | Modeled | 937981.178 | -59.6065 | 0.2189% | -0.000401%
1.05 | Walk-in Cooler/Freezer and Refrigerated Storage Evaporative Fan Cycling and VFD Controls | Refrigeration | SWCR006-01 | 01 | POU | POU | Modeling Tool (eQUEST) | 0 | 0 | 0% | 0%
1.06a | Floating Head Pressure Controls, Multiplex | Refrigeration | SWCR007-01 | 01 | IOU | SCE | Modeled | 2106640.7638 | 467.6737 | 0.4916% | 0.003146%
1.06b | Floating Suction Controls, Multiplex | Refrigeration | SWCR008-01 | 01 | IOU | SCE | Modeled
1.07 | Refrigeration Night Covers | Refrigeration | SWCR009-01 | 01 | POU | POU | DEER (direct or interpolated)
1.08 | Bare Suction Line Insulation | Refrigeration | SWCR010-01 | 01 | IOU | SCE | Calculated
1.09 | Add Doors To Walk-In Cooler | Refrigeration | SWCR011-01 | 01 | POU | POU | One Line Calc | 0 | 0 | 0% | 0%
1.1 | Compressor Retrofit, Multiplex | Refrigeration | SWCR012-01 | 01 | IOU | #N/A | Modeled | 229501.8666 | -18.3046 | 0.05356% | -0.0001232%
1.14 | Floating Head Pressure Controls - Single Compressors | Refrigeration | SWCR013-01 | 01 | POU | PG&E | Modeling Tool (eQUEST) | 175107.75 | 0 | 0.04087% | 0%
1.17a | Medium or Low-Temperature Display Case | Refrigeration | SWCR014-01 | 01 | IOU | SCE | Study | 0 | 0 | 0% | 0%
1.18 | Medium-Temperature Case Doors | Refrigeration | SWCR015-01 | 01 | IOU | PG&E (Randy) | Modeled | 2753979.8 | 246580.5162 | 0.6427% | 1.659%
1.19 | Adaptive Refrigerator And Freezer Controls | Refrigeration | SWCR016-01 | 01 | POU | PG&E | Modeling Tool (eQUEST)
1.21 | Ultra-Low Temperature Freezer | Refrigeration | SWCR017-01 | 01 | IOU | PG&E | Study | 553088.69 | -4728.44 | 0.1291% | -0.03181%
1.22 | Reach-In Refrigerator or Freezer, Commercial | Refrigeration | SWCR018-01 | 01 | IOU | PG&E | Study | 249219 | 0 | 0.05816% | 0%
1.15 | Low-Temperature Coffin To Reach-In Display Case Conversion | Refrigeration | SWCR019-01 | 01 | IOU | PG&E (Adan) | Calculated | 621107.6025 | 0 | 0.1449% | 0%
1.16 | Medium-Temperature Open Display Case Retrofit | Refrigeration | SWCR020-01 | 01 | IOU | PG&E (Adan) | Calculated | 71930.4 | 0 | 0.01679% | 0%
1.17b | Medium or Low-Temperature Display Case With Doors | Refrigeration | SWCR021-01 | 01 | IOU | PG&E (Adan) | Modeled
1.23 | Adiabatic Condenser | Refrigeration | SWCR022-01 | 01 | IOU | SCE | Modeled
5.10e | Duct Seal, Residential | Service | SWSV001-01 | 01 | IOU | PG&E | DEER Modified | 2224133.9962 | 163823.1331 | 0.5191% | 1.102%
5.3 | Refrigerant Charge, Commercial | Service | SWSV002-01 | 01 | IOU | SDG&E | DEER Modeled | 108140.7157 | -2.3525 | 0.02524% | -1.583e-05%
5.31 | Evaporator Coil Cleaning, Commercial | Service | SWSV003-01 | 01 | IOU | SDG&E | DEER Modified | 34635.5086 | -0.03665 | 0.008083% | -2.466e-07%
5.32 | Condenser Coil Cleaning, Commercial | Service | SWSV004-01 | 01 | IOU | SDG&E | DEER Modified | 74098.4873 | -0.1929 | 0.01729% | -1.298e-06%
5.02 | Economizer Repair, Commercial | Service | SWSV005-01 | 01 | IOU | PG&E | Modeled | 886680.7757 | 13130.338 | 0.2069% | 0.08834%
5.10a | Refrigerant Charge Adjustment, Residential | Service | SWSV006-01 | 01 | IOU | SCE | DEER Modeled | 2247518.8128 | -115.3679 | 0.5245% | -0.0007762%
5.10b | Condenser Coil Cleaning, Residential | Service | SWSV007-01 | 01 | IOU | SCE | DEER Modified | 506378.035 | -57.9011 | 0.1182% | -0.0003896%
5.10c | Evaporator Coil Cleaning, Residential | Service | SWSV008-01 | 01 | IOU | SCE | DEER Modified
5.10d | Air Flow Adjustment, Residential | Service | SWSV009-01 | 01 | IOU | SCE | DEER Modified
5.01 | Economizer Controls, Commercial | Service | SWSV010-01 | 01 | IOU | PG&E | Modeled | 528.3673 | 37.1514 | 0.0001233% | 0.00025%
5.11 | Quality Installation for Residential Split Systems | Service | SWSV011-01 | 01 | POU | 0 | 3 | 367366.1992 | 0 | 0.08573% | 0%
5.29 | Air Filter Alarm | Service | SWSV012-01 | 01 | POU | 0 | not DEER
6.02 | Faucet Aerator, Residential | Water Heating | SWWH001-01 | 01 | IOU | SCG | Calculated | 601880.4099 | 522957.4954 | 0.1405% | 3.518%
6.03 | Low-Flow Showerhead - Residential | Water Heating | SWWH002-01 | 01 | IOU | SCG | Calculated | 73554.4054 | 821561.8526 | 0.01717% | 5.527%
6.04 | TSV with and without an Integrated Low-Flow Showerhead, Residential | Water Heating | SWWH003-01 | 01 | IOU | SCG | Calculated | 0 | 14171.6043 | 0% | 0.09535%
6.05 | Laminar Flow Restrictor | Water Heating | SWWH004-01 | 01 | IOU | SCG | Calculated | 0 | 242525.3913 | 0% | 1.632%
6.07 | Boiler, Commercial | Water Heating | SWWH005-01 | 01 | IOU | PG&E | Calculation Tool | -119.977 | 411748.9336 | -2.8e-05% | 2.77%
5.08 | Tankless Water Heater, Commercial | Water Heating | SWWH006-00 | 01 | IOU | SCG | DEER Modeled | 0 | 500063.816 | 0% | 3.364%
6.08 | Tankless Water Heater, Commercial | Water Heating | SWWH006-01 | 01 | IOU | SCG | DEER Modified | 0 | 500063.816 | 0% | 3.364%
6.09 | Storage Water Heater, Commercial | Water Heating | SWWH007-01 | 01 | IOU | SCG | Calculation Tool | 0 | 326519.3103 | 0% | 2.197%
6.10 | Boiler, Process | Water Heating | SWWH008-01 | 01 | IOU | PG&E | Calculated | 0 | 170299.43 | 0% | 1.146%
6.11 | Direct Contact Water Heater, Process | Water Heating | SWWH009-01 | 01 | Sunset | PG&E | One Line Calc
6.12 | Boiler, MFm | Water Heating | SWWH010-01 | 01 | IOU | SCG | Calculated | 0 | 51677.61 | 0% | 0.3477%
6.13 | Central Storage Water Heater, MFm | Water Heating | SWWH011-01 | 01 | IOU | PG&E | Study | 0 | 22002.51 | 0% | 0.148%
6.14 | Storage Water Heater, Residential | Water Heating | SWWH012-01 | 01 | IOU | SCG | Calculation Tool | 0 | 83149.899 | 0% | 0.5594%
6.15 | Tankless Water Heater, Residential | Water Heating | SWWH013-01 | 01 | IOU | SCG | Calculation Tool | -17882.12 | 297116 | -0.004173% | 1.999%
6.16 | Heat Pump Water Heater | Water Heating | SWWH014-01 | 01 | IOU | SCE | Calculation Tool | 775762 | 0 | 0.181% | 0%
6.18b | Demand Control for Centralized Water Heater Recirculation Pump - MFm | Water Heating | SWWH015-01 | 01 | IOU | SCG | Modeled | 21201.741 | 37197.4568 | 0.004948% | 0.2503%
6.19 | Domestic Hot Water Loop Temperature Controller, MFm | Water Heating | SWWH016-01 | 01 | IOU | SCG | Modeled | 0 | 0 | 0% | 0%
6.21 | Hot Water Pipe Insulation | Water Heating | SWWH017-01 | 01 | IOU | SCG | Calculation Tool | 0 | 6439919.858 | 0% | 43.33%
6.22 | Hot Water Tank Insulation, Nonresidential | Water Heating | SWWH018-01 | 01 | IOU | SCG | Calculated | 0 | 962859.4186 | 0% | 6.478%
6.23 | Faucet Aerator, Commercial | Water Heating | SWWH019-01 | 01 | IOU | SCG | Calculated
6.24 | Low-flow Showerhead - Commercial | Water Heating | SWWH020-01 | 01 | IOU | SCG | Calculated | 0 | 160163.32 | 0% | 1.078%
6.25 | Recirculation Pump Timer, Commercial | Water Heating | SWWH021-01 | 01 | IOU | SCG | Calculated
6.26 | Smart Pump, Residential | Water Heating | SWWH022-01 | 01 | IOU | PG&E | Calculated
6.27 | Diverting Tub Spout with TSV | Water Heating | SWWH023-01 | 01 | IOU | SCG | Calculated
6.3 | Central Boiler Dual Setpoint Temperature Controller, MFm | Water Heating | SWWH024-01 | 01 | IOU | SGG | Modeled
| Heat Pump Water Heater, Residential, Fuel Substitution | Water Heating | SWWH025-01 | 01 | IOU | SCE | Calculation Tool
| Demand Control for Centralized Water Heater Recirculation Pump - MFm and Commercial | Water Heating | (see WH015) | 02 | IOU | SCG | 0
3.05 | VFD on Well Pump, <=300 hp | Water Pumping | SWWP002-01 | 01 | IOU | PG&E | Study | 9535912.85 | 0 | 2.225% | 0%
3.01 | Pump System Overhaul, Agriculture | Water Pumping | SWWP003-01 | 01 | POU | SCE | One Line Calc | 50505.35 | 0 | 0.01179% | 0%
3.16 | Water Pump Upgrade | Water Pumping | SWWP004-01 | 01 | IOU | PG&E | Calculation Tool | 286510.04 | 0 | 0.06686% | 0%
3.17 | Enhanced VFD on Irrigation Pump | Water Pumping | SWWP005-01 | 01 | IOU | PG&E | Study | 2198775 | 0 | 0.5131% | 0%
3.03 | Farm Sprinkler to Micro Irrigation Conversion | Water Pumping | SWWP006-01 | 01 | IOU | PG&E | 0 | 5933415.475 | 0 | 1.385% | 0%
11.02 | Home Energy Check Up | Whole Building | SWWB001-01 | 01 | POU | 0 | Modeling Tool (non-eQUEST)
11.11 | #N/A | Whole Building | SWWB002-01 | 01 | Proc | SCG | 0
11.12 | #N/A | Whole Building | SWWB003-01 | 01 | Proc | SCG | 0
11.01 | #N/A | Whole Building | SWWB004-01 | 01 | Sunset | Hold | Modeling Tool (non-eQUEST)
5.08 | #N/A | Whole Building | SWWB005-01 | 01 | Sunset | 0 | 3 | 0 | 0 | 0% | 0%
11.09 | Conditioned Crawlspace, Residential | Whole Building | SWWB006-01 | 01 | IOU | SCE | Modeled
5.62 | Packaged Air Conditioner Heat Recovery, Commercial | HVAC | SWHC048-01 | 01 | IOU | SCG | Study
10.15 | Steam Boiler Economizer, Industrial | Process | SWPR007-01 | 01 | IOU | SCG | Study
6.32 | Water Heater Pipe Wrap, Residential | Water Heating | SWWH026-01 | 01 | IOU | SCG | Calculation Tool
Note on F125: CalTF-1: Ready to upload
Note on F128: CalTF-1: Want to change to calculated approach rather than upload savings

## Chart
IOU / POU | IOU
Count of Calculation Status | Column Labels
Row Labels | DEER Modeled | DEER Modified | Modeled | Calculation Tool | Calculated | Study | Grand Total
Building Envelope | 4 | [5 empty] | 4
Service | 2 | 6 | 2 |  |  |  | 10
Whole Building |  |  | 1 |  |  |  | 1
HVAC | 5 | 5 | 16 | 2 |  | 2 | 30
Refrigeration |  |  | 11 |  | 3 | 3 | 17
Compressed Air |  |  |  | 1 |  |  | 1
Recreation |  |  |  | 3 | 1 |  | 4
Water Heating | 1 | 1 | 3 | 8 | 12 | 1 | 26
Lighting |  |  |  |  | 3 |  | 3
Food Service |  |  |  |  | 19 | 2 | 21
Appliance or Plug Load | 2 | 1 |  |  | 7 | 2 | 12
Process |  |  |  |  | 3 | 4 | 7
Water Pumping |  |  |  | 1 |  | 2 | 3
Grand Total | 14 | 13 | 33 | 15 | 48 | 16 | 139
Row Labels | DEER Modeled | DEER Modified | Modeled | Calculation Tool | Calculated | Study | Grand Total
Building Envelope | 4 | [5 empty] | 4
Service | 2 | 6 | 2 |  |  |  | 10
Whole Building |  |  | 1 |  |  |  | 1
HVAC | 5 | 5 | 16 | 2 |  | 2 | 30
Refrigeration |  |  | 11 |  | 3 | 3 | 17
Compressed Air |  |  |  | 1 |  |  | 1
Recreation |  |  |  | 3 | 1 |  | 4
Water Heating | 1 | 1 | 3 | 8 | 12 | 1 | 26
Lighting |  |  |  |  | 3 |  | 3
Food Service |  |  |  |  | 19 | 2 | 21
Appliance or Plug Load | 2 | 1 |  |  | 7 | 2 | 12
Process |  |  |  |  | 3 | 4 | 7
Water Pumping |  |  |  | 1 |  | 2 | 3
Grand Total | 14 | 13 | 33 | 21 | 48 | 10 | 139