## Voting
Wait…I think you voted for more than 3 choices.
No | Measure Name | Measure Description | Gas | Electric | count | Potential Champion | Name | Name | Name | Name | Name | Name | Name | Name | Name | Name | Name | Name | Name | Count = | 7
14 | Pipe / Fitting insulation | This installation is currently a deemed measure that includes a base case of no insulation. Even with very course assumptions on operation, there are thousands of variants that change by hours of operation, insulation thickness, fitting/pipe, indoor/outdoor, pipe diameter, pressure, and climate zone. Because of the complexity of this measure and the potential to include other key variables like water/steam temperature and existing conditions, this hybrid measure is being suggested. | x |  | 5 | Steven Long |  |  | Steven Long- Can support measure development |  |  | Larry Kotewa |  |  |  | Ed Reynoso | Martin Vu Vote # 2 |  | Chan Paek
8 | Process Boiler | This installation includes the accelerated replacement or normal replacement of an existing process boiler with a more efficient process boiler. New control strategies could be included. A deemed measure does exist, but it includes several assumptions that can vary significantly that include operating hours, efficiency, and load factor. The deemed measure has a cap on input capacity (20 MMBTU/hr), above which the measure must be calculated through the custom process. | x |  | 4 |  |  |  | Steven Long | Richard Ma | Bryan Boyce (Gas) | [7 empty] | Chan Paek
5 | Steam Traps | This installation includes the normal replacement (NR) of an existing but failed steam trap. Only stream traps that are failed in leaking or by-pass mode are eligible for this incentive. Part of this measure will be in clearly documenting the base case and M&V requires to meet the concerns of previous dispositions. Additionally, EUL extender add-ons can be incorporated to provide greater persistence of savings. | x |  | 2 |  | Charles Ehrlich |  |  |  |  | Larry Kotewa
15 | Retro-Commissioning | This retrocommissioning (RCx) measure is geared as serving an industry where problems are found and then fixed immediately - but always include a high-touch aspect to the service. Savings can be small but significant, so a mechanism that provides certainty in approval for given documented inputs may provide a new path to savings. This measure should address validation and persistence concerns by specifying the right level of documentation for a measure. | x | x | 3 | Eric Noller | [6 empty] | Lisa Gartland | Akhilesh Endurthy |  |  |  | Eric Noller
12 | Industrial Processes (multiple shifts) | This installation can vary tremendously depending upon the project. Even for a given project, the number of shifts per day could vary from site to site as 1, 2, 3, or 24/7 operation. Given this variability, the opportunity for hybrid measures is possible, but it must be focused specific projects. The first example project that was suggested is a floating head pressure project for non-space conditioning applications (i.e., industrial, agricultural, or refrigeration). In this case, the sensitive variable of existing head pressure is critical to documenting savings accurately. | x | x | 1 | [8 empty] | Akhilesh Endurthy
16 | Chiller Measures | The CPUC supports a variety of chiller measures (both air- and water-cooled, as well as types such as screw, reciprocating, and centrifugal) through the deemed and custom approaches. In 2018, CPUC developed a chiller workbook for DEER2020 to assist PAs with chiller projects that deviate from the DEER assumptions in meaningful ways. This product is a good candidate for a trial hybrid measure because chiller savings can be increased significantly with differences in attributes such as the existing conditions and runtime hours. CPUC has already created a calculator that could form the basis for a hybrid approach. |  | x | 6 |  |  | Greg Barker |  | Richard Ma | Bryan Boyce (Electric) | Larry Kotewa | Lisa Gartland |  | Mike Casey
10 | Pump Overhaul | This service project can provide cost effective savings, but depends upon operating characteristics, the life of the measure and the cost of the measure. Being able to document operating parameters in a clear/structured way through pump tests, focus on differences between Ag and Municipal applications, document the life of the measure based upon a large population of data, and limit project costs could focus this measure on cost-effective solutions. Ideally, this solution can begin driving small project. |  | x | 4 | Eric Noller | [7 empty] | Akhilesh Endurthy |  |  | Martin Vu Vote # 1 | Eric Noller | Chan Paek
3 | Lighting | A lot of process is already established around the Modified Lighting Calculator. This installation would focus on Accelerated Replacement (AR) measure applications types to document savings from existing conditions. |  | x | 3 | Greg Barker James Gingras | Charles Ehrlich | Greg Barker |  | Richard Ma | [5 empty] | Ed Reynoso (Measure Champion for outdoor LED lamp replacment, liken to LED T8 lamp replacing LF for NonRes Direct Install program)
4 | Lighting Controls | This installation includes the add-on equipment (AOE) to control an existing lighting system or the replacement of an existing lighting control system with a more efficient control. The type of control could vary, but Daylighting controls may be excluded to limit complexity at first. Part of this measures would be to establish an appropriate EUL rather than simply relying upon the default for AOE measures. Additionally, this control was noted to be able to document energy usage as part of the measure. The challenge will be in document the correct base case control condition. |  | x | 2 | Greg Barker |  | Greg Barker |  |  |  |  | Lisa Gartland |  |  | Ed Reynoso
9 | VFD / Modulating Air Compressor | This installation includes the normal replacement (NR) of an existing air compressor (or air compressor system) with a more efficient system. Code restrictions do exist that will effect baselines and project allowance. A standard calculator exists from PG&E, but other standard approaches exist (i.e., AirMaster+ from SCE). |  | x | 2 |  | Charles Ehrlich | [7 empty] | Mike Casey
2 | VFD for HVAC Fans | Potential future measure; similar to process fans. |  | x | 1 | Steven Long |  |  | Steven Long- Can support measure development
11 | Downstream HVAC – Unitary AC and HP | This normal replacement (NR) or accelerated replacement (AR) measure is focused on replacing unitary AC and HP equipment through a downstream delivery path. With a higher touch, more information can be gathered on the existing conditions and proposed equipment so that baselines can choose the correct "vintage" model to start from and proposed case can interpolate between tiers for more accurate savings. (This is not necessarily the approach that must be taken, only a starting point to understand the concept.) This measure will need to address concerns of double-dipping between this and an upstream program. |  | x | 1 | [5 empty] | Bryan Boyce (POU)
1 | VFD for Process Fans | This installation includes the add-on equipment to an existing Process Fan to provide the capability to control speed. Energy savings are realized by eliminating losses due to mechanically throttling air flow and/or the ability to reduce flow to match the process requirement. Adding a VFD to a Lab Fume Hood is an example of this measure that was recommended for consideration. Part of this measure would be to address effective useful life (EUL) and remaining useful life (RUL) that are typically assumed to be 1/3 of the EUL, but potentially, the EUL should be different or not linked to the life of the host equipment. |  | x | 0 | Eric Noller | [8 empty] | Mike Casey |  | Martin Vu Vote # 3 (Does this apply to Dairy Farm Fans to cool cows in the dairy pen? | Eric Noller
7 | Evaporative Condenser | This installation includes the accelerated replacement or normal replacement of an existing air-cooled condenser with a new evaporative condenser in a commercial, HVAC application. Savings from this measure result from reduced compressor power when the system operates at a lower condenser pressure/temperature. This measure has been modeled in the past, but key parameters (such as heat exchanger effectiveness) can be included as a sensitive parameter to provide more site-specific savings. This measure will need to document the additional costs associated with water for this new installation. This measure will not be cost effective in all climate zones. |  | x | 0
6 | Airflow Adjustments in Tel-com Bldg | Not enough potential or too variable at this time. |  |  | 0
13 | Automated data collection and reporting | Add-ons that supports automated data collection and reporting Needs more specific applications (i.e., lighting controls). |  |  | 0
17 |  |  |  |  | 0
18 |  |  |  |  | 0